Section 08373 Architectural Specification

UltraTough M&I High Speed Rubber Door

For doors sizes 24’ x 27’ or less

SECTION 08373

HIGH-SPEED ROLLING DOORS

PART 1 – GENERAL

1.01   SECTION INCLUDES

- Work described in this section includes manufacture, delivery and installation of high speed rolling doors, and control devices.

1.02   RELATED SECTIONS

- Field painting

- Electrical connections

1.03   REFERENCES

- American Society for Testing and Materials (ASTM)

- National Electrical Manufacturer's Association (NEMA)

- Underwriters Laboratories, Inc. (CUL)

1.04   SYSTEM DESCRIPTION

- Electrical Motor operated unit with manual override in case of power failure.

1.05   SUBMITTALS

- Submit the following:

  - Shop Drawings:  Indicate pertinent dimensioning, anchorage methods, hardware locations and installation details.

  - Product Data:  Provide general construction, component connections and details, electrical equipment and operation instructions.

  - Samples:  Submit color samples of door panels for selection by owner.

  - Manufacturer's Installation:  Indicate installation sequence and procedures, adjustment and alignment procedures.

1.06   REGULARTORY REQUIREMENTS

- Electrical components UL listed.

- Electrical enclosure NEMA approved.

1.07   PERFORMANCE REQUIRMENTS

- High Wind Loading Option: Equipped with wind gussets. No windbars required or allowed

1.08   QUALITY ASSURANCE

- Furnish high-speed roll doors and all components and accessories by one manufacturer.

1.09   FIELD MEASUREMENTS

- Verify field measurements are as indicated on shop drawings.

1.10  COORDINATION

- Coordinate the work with installation of electric power and locations and sizes of conduit.

1.11   WARRANTY

- SBR fabric for the life of the door, labor limited to one (1) year.

- Optional EDPM fabric for five (5) years, labor limited to one (1) year.

- One year warranty covering material and workmanship defects on mechanical and electrical components.

- One year labor warranty.

PART 2 – PRODUCTS

2.01   PRODUCTS

- Albany Door Systems UltraTough high speed rubber door.

- No substitutions permitted.

2.01   MATERIALS

- Door Panel:

  - Fabric:

    - 2 layers of Styrene Butadiene Rubber (SBR) each 1/8” (0.8mm) thick, 70

durometer; sandwiched with 1-ply, 110lbs (50kg) polyester cord center.

    - Complete with bonded SBR bevelled continuous windlocks, providing normal resiliency and flexibility at temperatures ranging from -40 F to +180F (-40C to +85C).

  - Characteristics:

    - Breaking strength 1100 lbs/in/ply

  - Standard color Black  ** Also available in blue, or grey EPDM (specifications may vary).  **Color and fabric type selected by Architect upon approval of manufacturer.

- Door Header:

  - Door roll

    - Fabricate minimum 8 5/8" (219 mm) diameter, steel tube from 0.188” (4.75 mm) steel complying with ASTM A513.

    - Drum tube deflection shall not exceed 0.03" per foot (2.5 mm / M) of opening  width

    - Drive barrel shafts are constructed of 2” (50.8 mm) diameter 1045 bolt-on steel shafts

  - Idler

    - Fabric guiding barrel shall be constructed of minimum 4” (102 mm) O.D. round tubing with a minimum wall thickness of 0.134” (3.4 mm) and supported by 1 ½” (32 mm) diameter 1018 steel shafts.

  - Top plates

    - Constructed of minimum ¼” (6 mm) hot-rolled steel laser-cut plates with heavy-duty, self-aligning bearings with cast iron housings to support both the spring and idler barrels. 2” (50.8 mm) diameter shaft bearing shall be load-rated at 10800 lbs (48000N) dynamic and 6400 lbs (28500 N) static. 1 ½” (32 mm) diameter idler shaft bearing shall be load-rated at 8150 lbs ((36000 N) dynamic and 4400 lbs (19600 N) static.

    - To include top roll alignment plates for installation.

  - Counterbalance System

    - Direct Drive only. No counter-balance or torsion springs allowed. Lifetime parts and labor warranty on all spring components

- Side Frames:

  - Frames

    - Frame assemblies shall be constructed of steel members to form a slot of sufficient depth to allow the thicker edges of the rubber curtain windloks to move freely in the guides at all times.  Steel members are to be of sufficient thickness and rigidity to maintain the windloks within the guides while enabling the windloks to break away during impact.

  - Wind Resistance

    - Wind resistant capabilities shall include a windlok rubber component on each side of the curtain fabric. The windlok feature runs the full height of the door curtain and is contained in the side frames to secure the door under wind pressure and to decrease air infiltration.

  - Paint

    - Painted with durable, chemical and corrosion resistant coating

    - Color:  orange

  - Side frames covers shall be hinged to allow easy curtain access.

- Control Panel:

  - UltraSmart controller housed in a NEMA 4 / 12 enclosure.

  - Control Panel must be provided with fusible rotary disconnect mounted on the control panel.  No exceptions.

  - Controls must include a variable frequency drive system capable of infinitely variable speed control in both the up and down directions.  Fused 24V AC power for the door controller and optional activators.

  - All interior control panel components must be touch-safe (protected from high voltage when control panel door is open).  NO EXPOSED HIGH VOLTAGE CONTACTS.

  - All door operational parameters must be set on the outside face of the control panel.  No fixed or rotary limit switches.  No exceptions.

  - Controller comes with factory set parameters, a two line display that shows functional information during normal operation and will advise if maintenance is required for abnormal situations.

  - Controller and panel must be fully modular.  Separate modules for activation, safety, drive, controls, operation and all other options.  Must be expandable to accommodate additional modules for desired inputs and outputs.

  - Controls must be fully self diagnostic.

  - Door must be provided with an absolute encoder.

- Bottom Bar:

  - Bottom bar shall extend the full width of the curtain, sufficient to maintain the bottom edge of the curtain parallel to the door threshold at all times.  The bottom bar shall be constructed of a steel angle and flat bar bolted together and shall have a breakaway center section to reduce risk of damage during accidental impacts and provide ease of straightening, allowing for simple re-assembly.

  - 6” tall weatherproof rubber loop made of EPDM able to seal uneven finished floors

  - Door to be provided with failsafe electric safety edge.  No pneumatic edges allowed.

  - Bottom bar and door operation must be totally wireless.  No coil cords allowed.  All faults registering from the wireless device must be displayed on the control panel.

  - Bottom bar wireless system battery life must be more than three years. Battery must be able to be replaced at ground level.

  - Bottom bar controls must indicate in advance when battery must be replaced

- Safety Features:

  - Door to be provided with TruckGuard Safety Light Curtain System.

  - Light curtain must be attached to the side frame material and cover area up to a height of no less than six feet.

  - Light curtain system must have a minimum of 96 infrared thru-beam optical sensors.

  - Control panel must indicate in written visible English each time the light curtain is broken. Door to be provided with failsafe electric safety edge.  Door controller must indicate if the safety edge is not operable.

- Speed:

  - Door to operate at a variable speed up to 48" per second in the up direction depending on door size.  Door must operate at a variable speed in the down direction.

- All components furnished by factory.

PART 3 – EXECUTION

3.01   EXAMINATION

- Verify that opening sizes, tolerances and conditions are acceptable.

3.02   INSTALLATION

- Install door assembly in accordance with manufacturer's instructions.

- Use anchorage devices to securely fasten assembly to wall constructions and building framing without distortion or stress.

- Fit and align assembly including hardware; level and plumb to provide smooth operation.

- Coordinate installation of electrical service.  Complete wiring from disconnect to unit components.

- Touch-up paint on frame and other painted surfaces in accord with painting section.

  - Upon completion of installation, including work by other trades, lubricate, test and adjust doors to operate in accordance with manufacturer's product data.  Final adjustments shall be made by manufacturer's authorized representative.

  - Protect finished installations until Date of Substantial Completion.  Repair damage to door panel, hardware and operators.

3.03   ADJUSTING

- Adjust door and operating assemblies.

- Test and adjust door, if necessary, for proper operations.

3.04   CLEANING

- Clean door and components.

END OF SECTION